## Sheet1
Importance | Feature | Category | Name | Parameter Description | Comment
381 | 0.012885 | Meta | combined_normalOrOther_new | combined parameter Normal or Other - new version
67 | 0.010289 | Rhythm | beat_bci_skewness | skewness (assymmetry of distribuation function) of beat coupling intervals
65 | 0.009548 | Beat | beat_amp_skewness | skewness (assymmetry of distribuation function) of beat amplitudes
265 | 0.008806 | Atrial | af_mean_atrialHR1 | mean atrial heart rate calculated from atrial peak distances, minPeakDistance between atrial peaks = 50 ms
61 | 0.00825 | QRS | qrs_drift_mean | mean of the differences between amplitude at QRS offset and QRS onset
6 | 0.008157 | Beat | commonPattern_amp_gini | GINI coefficient of beat amplitudes
382 | 0.008065 | Meta | combined_normalOrAF_new | combined parameter AF or Normal - new version
33 | 0.007972 | Beat | P_corr_median | median of the correlation coefficients of all P waves with the averaged P wave
383 | 0.007879 | Meta | combined_normalOrNoise_new | combined parameter Normal or Noise
15 | 0.007879 | Rhythm | commonPattern_BCI_max | maximum of beat coupling intervals
9 | 0.007786 | Beat | commonPattern_width_mean | mean width of all beats
307 | 0.007601 | Average | av_T_amp_1 | T amplitude of average beat class 1
24 | 0.007416 | Beat | P_corr_max | max of the correlation coefficients of all P waves with the averaged P wave
275 | 0.007323 | Atrial | af_mean_atrialHR | mean atrial heart rate calculated from atrial peak distances, minPeakDistance between atrial peaks = 200 ms
43 | 0.00723 | Beat | QRS_max | max of the correlation coefficients of all QRSs with the averaged QRS
294 | 0.007138 | Average | av_P_amplitude2_1 | P amplitude calculated as distance from a reference zero line of average beat class 1
301 | 0.007138 | Average | av_ST_gradient_1 | ST gradient of average beat class 1
44 | 0.007138 | Beat | QRS_mean | mean of the correlation coefficients of all QRSs with the averaged QRS
303 | 0.007045 | Average | av_R_up_gradient_change_1 | Gradient change in the rising R peak of average beat class 1
69 | 0.007045 | Beat | beat_width_skewness | Skewness of QRS durations
385 | 0.006859 | Meta | combined_otherOrNoise | combined parameter Noise or Other
313 | 0.006767 | Average | av_QRS_A_on2off_1 | Difference of amplitude of averaged heart beat of class 1 right before and right after QRS complex
23 | 0.006674 | Beat | P_rmszero_min | min of root mean square of the area between zero line and each single P wave | ask dieter what zero means
55 | 0.006674 | QRS | qrs_dd | delta between lowest detected QRS amplitude and highest non-QRS ampltitude (measure for abort criterion)
287 | 0.006581 | Average | av_P_on_1 | distance from fiducial point to P wave onset in samples for averaged beat class 1
0 | 0.006581 | Beat | commonPattern_amp_min | minimum amplitude of all beats
268 | 0.006489 | Atrial | af_pp_irregularity1 | Interquartile range of atrial beat-to-beat heart rate / median of atrial heart rate, minPeakDistance between atrial peaks = 50 ms
351 | 0.006396 | Signal | ws_ecgAmpMax | max amplitude value of raw ECG signal
375 | 0.006303 | Meta | combined_normalOrOther_old | combined parameter Normal or Other - old version
296 | 0.006211 | Average | av_P_amplitude4_1 | P amplitude calculated as distance from a more complex reference zero line of average beat class 1
310 | 0.006211 | Average | av_P_skewness_1 | Skewness of P wave of average beat class 1
260 | 0.006118 | Atrial | af_medianPamp1 | Median of P amplitudes, minPeakDistance between atrial peaks = 50 ms
289 | 0.006118 | Average | av_QRS_width_1 | QRS width of average beat class 1
40 | 0.006118 | Beat | P_rmsav_gini | GINI cofficient of root mean square of the distance between averaged P wave and each single P wave
251 | 0.006025 | Atrial | af_p_af_freq_rel_2 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 0.5-1 Hz as compared to 0.001-0.5 Hz
47 | 0.006025 | Beat | QRS_iqr | inter quartile range of the correlation coefficients of all QRSs with the averaged QRS
59 | 0.006025 | QRS | qrs_baseline_mean | Mean value of the mean signal amplitudes within all QRS complexes | sollte mean(baseline) sein, ist's aber nicht
14 | 0.006025 | Rhythm | commonPattern_BCI_min | Minium beat coupling interval of all beats
247 | 0.005933 | Atrial | af_atrial_frequency | Atrial frequency, calculated from the spectrum of the atrial signal after removal of averaged beats
261 | 0.005933 | Atrial | af_iqrPamp1 | Interquartile range of P amplitudes, minPeakDistance between atrial peaks = 50 ms
270 | 0.005933 | Atrial | af_medianPamp | Median P wave amplitude, minPeakDistance between atrial peaks = 200 ms
269 | 0.005933 | Atrial | af_pp_irregularity21 | ratio of atrial peaks with beat coupling interval = median atrial beat coupling interval +- 10 bpm, minPeakDistance between atrial peaks = 50 ms
295 | 0.005933 | Average | av_P_amplitude2rel_1 | ratio of P amplitude calculated as distance from a reference zero line to QRS amplitude of average beat class 1
288 | 0.005933 | Average | av_P_off_1 | distance from fiducial point to P wave offset in samples for averaged beat class 1
304 | 0.005933 | Average | av_R_down_gradient_1 | minimum gradient of falling R peak of averaged beat class 1
7 | 0.005933 | Beat | commonPattern_width_min | Minimum width of all beats
349 | 0.00584 | Atrial | remav_ampRatio_qrsBlank | ratio of atrial amplitude after removal of averaged beats / amplitude after removal of averaged beats + blanking of QRS complexes
46 | 0.00584 | Beat | QRS_median | median of the correlation coefficients of all QRSs with the averaged QRS
280 | 0.00584 | Rhythm | af_AFEv | AF evidence from sample entry
225 | 0.00584 | Rhythm | rhythm_imbalance1_rel | difference in between all increases and decreases of subsequent beat coupling intervals, relative to number of beats
352 | 0.00584 | Signal | ws_ecgAmpMin | minium ECG amplitude
277 | 0.005747 | Atrial | af_atrial_hr_ratio50 | ratio of peaks in the atrial signal with beat coupling interval within median atrial beat coupling interval +- 50 bpm, minPeakDistance between atrial peaks = 200 ms
273 | 0.005747 | Atrial | af_iqr_atrialHR | Interquartile range of atrial heart rate divided by median of atrial heart rate, minPeakDistance between atrial peaks = 200 ms
279 | 0.005747 | Atrial | af_pp_irregularity2 | ratio of atrial peaks with beat coupling interval = median atrial beat coupling interval +- 10 bpm, minPeakDistance between atrial peaks = 200 ms
58 | 0.005747 | QRS | qrs_qrs_range | range of the amplitudes at location of all detected QRS complexes within the transformed signal for QRS det
238 | 0.005747 | Rhythm | rhythm_perc_premajure | Percentage of premature beats
250 | 0.005654 | Atrial | af_p_af_freq_2 | power of atrial signal after removal of averaged beats within the frequency band 0.5-1 Hz
60 | 0.005654 | QRS | qrs_baseline_std | Standard deviation of the mean signal amplitudes within all QRS complexes | sollte std(baseline) sein, ist's aber nicht
49 | 0.005654 | QRS | qrs_Gmax | maximum GINI coefficient found during QRS detection
3 | 0.005469 | Beat | commonPattern_amp_std | std of beat amplitudes
71 | 0.005284 | Rhythm | cc_ratioSCsUniqueBeforeCorrection | ratio of number of different morphology classes / number of beats, calculated before removing noise beats
127 | 0.005284 | Rhythm | rhythm_ratioRegular10_PartDiff | diff between best and worst part
299 | 0.005191 | Average | av_PQ_int_1 | PQ interval of averaged beat class 1
27 | 0.005191 | Beat | P_corr_mean | mean of the correlation coefficients of all P waves with the averaged P wave
21 | 0.005098 | Beat | P_corr_min | min of the correlation coefficients of all P waves with the averaged P wave
38 | 0.005098 | Beat | P_rmszero_iqr | inter quartile range of root mean square of the distance between zero line and each single P wave
384 | 0.005098 | Meta | combined_afOrOther_new | combined parameter AF or Other
57 | 0.005098 | QRS | qrs_iqr_qrs | inter quartile range of the amplitudes at location of all detected QRS complexes within the transformed signal for QRS det
311 | 0.005006 | Average | av_QRS_t_on2off_1 | sqared value of av_QRS_A_on2off_1
302 | 0.005006 | Average | av_R_up_gradient_1 | maximum gradient of rising R peak of averaged beat class 1
282 | 0.005006 | Rhythm | af_IrrEv | IrrEv from sample entry
267 | 0.004913 | Atrial | af_atrial_hr_ratio501 | ratio of peaks in the atrial signal with beat coupling interval within median atrial beat coupling interval +- 50 bpm, minPeakDistance between atrial peaks = 50 ms
263 | 0.004913 | Atrial | af_iqr_atrialHR1 | Interquartile range of atrial heart rate divided by median of atrial heart rate, minPeakDistance between atrial peaks = 50 ms
258 | 0.004913 | Atrial | af_p_af_freq_6 | power of atrial signal after removal of averaged beats within the frequency band 10-20 Hz
10 | 0.004913 | Beat | commonPattern_width_std | Std of QRS widths
259 | 0.00482 | Atrial | af_p_af_freq_rel_6 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 10-20 Hz as compared to 0.001-0.5 Hz
346 | 0.00482 | Atrial | remav_mean_amp_before_qrsBlank_rel | ratio of amplitude of atrial signal after removal of averaged beats / mean amplitude of original ecg
154 | 0.00482 | Rhythm | rhythm_iqr_irreg_RRs | inter quartile range of beat coupling intervals of beats with hr far from mean hr
257 | 0.004727 | Atrial | af_p_af_freq_rel_5 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 5-10 Hz as compared to 0.001-0.5 Hz
278 | 0.004727 | Atrial | af_pp_irregularity | Interquartile range of atrial beat-to-beat heart rate / median of atrial heart rate, minPeakDistance between atrial peaks = 200 ms
51 | 0.004727 | QRS | qrs_Gmin | minimum GINI coefficient found during QRS detection
223 | 0.004727 | Rhythm | rhythm_imbalance_rel | difference in between increases > 0.1 and decreases >0.1 of subsequent beat coupling intervals, relative to number of beats
5 | 0.004635 | Beat | commonPattern_amp_iqr | IQR of beat amplitudes
11 | 0.004635 | Beat | commonPattern_width_median | median of QRS widths
62 | 0.004635 | QRS | qrs_drift_std | std of the differences between amplitude at QRS offset and QRS onset
266 | 0.004542 | Atrial | af_mean_atrialHR_ratio_HR1 | ratio of atrial hr caluclated from atrial peak to peak distances to ventricular hr, minPeakDistance between atrial peaks = 50 ms
48 | 0.004542 | Beat | QRS_gini | GINI coefficient of the correlation coefficients of all QRSs with the averaged QRS
376 | 0.004542 | Meta | combined_afOrNoise | combined parameter AF or Noise
374 | 0.004542 | Meta | combined_normalOrOther | combined parameter Normal or Other - another version
253 | 0.004449 | Atrial | af_p_af_freq_rel_3 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 1-2 Hz as compared to 0.001-0.5 Hz
255 | 0.004449 | Atrial | af_p_af_freq_rel_4 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 2-5 Hz as compared to 0.001-0.5 Hz
309 | 0.004449 | Average | av_P_angle_1 | angle between the lines P onset - P peak and P peak - P offset for averaged beat class 1
262 | 0.004357 | Atrial | af_median_atrialHR1 | median atrial heart rate calculated from atrial peak distances, minPeakDistance between atrial peaks = 50 ms
298 | 0.004357 | Average | av_P_duration_1 | P duration for averaged beat class 1
291 | 0.004357 | Average | av_ST_elevation_1 | ST elevation of average beat class 1
239 | 0.004357 | Rhythm | rhythm_perc_postmajure | Percentage of postmajure beats
348 | 0.004264 | Atrial | remav_mean_amp_after_qrsBlank_rel | ratio of amplitude of atrial signal after removal of averaged beats + blanking of QRS complexes / mean amplitude of orginal ecg
286 | 0.004264 | Average | av_QRS_off_1 | distance from fiducial point to QRS offset in samples for averaged beat class 1
306 | 0.004264 | Average | av_QT_duration_1 | QT duration of averaged beat class 1
22 | 0.004264 | Beat | P_rmsav_min | min of root mean square of the area between averaged P wave and each single P wave
41 | 0.004264 | Beat | P_rmszero_gini | GINI cofficient of root mean square of the distance between zero line and each single P wave
264 | 0.004171 | Atrial | af_median_atrialHR_ratio_HR1 | ratio of median atrial hr caluclated from atrial peak to peak distances to ventricular hr, minPeakDistance between atrial peaks = 50 ms
1 | 0.004171 | Beat | commonPattern_amp_max | max of all beat amplitudes
13 | 0.004171 | Beat | commonPattern_width_gini | GINI coefficient of QRS widths
42 | 0.004171 | Beat | QRS_min | min of the correlation coefficients of all QRSs with the averaged QRS
274 | 0.004079 | Atrial | af_median_atrialHR_ratio_HR | ratio of median atrial hr caluclated from atrial peak to peak distances to ventricular hr, minPeakDistance between atrial peaks = 200 ms
252 | 0.004079 | Atrial | af_p_af_freq_3 | power of atrial signal after removal of averaged beats within the frequency band 1-2 Hz
347 | 0.004079 | Atrial | remav_mean_amp_after_qrsBlank | amplitude of atrial signal after removal of averaged beats + blanking of QRS complexes
297 | 0.004079 | Average | av_P_area_1 | area under P wave for averaged beat class 1
45 | 0.004079 | Beat | QRS_std | standard deviation of the correlation coefficients of all QRSs with the averaged QRS
240 | 0.004079 | Rhythm | rhythm_perc_regular | percentage of regular beats
256 | 0.003986 | Atrial | af_p_af_freq_5 | power of atrial signal after removal of averaged beats within the frequency band 5-10 Hz
37 | 0.003986 | Beat | P_rmsav_iqr | inter quartile range of root mean square of the distance between averaged P wave and each single P wave
35 | 0.003986 | Beat | P_rmszero_median | median of root mean square of the area between zero line and each single P wave
185 | 0.003986 | Rhythm | rhythm_ratioRegular10_bestPart_c1 | maximum of values calculated within 1st, 2nd and 3rd 1/3 of the ecg of ratio of beats with hr = median hr +- 10 bpm - dominant beat class only
345 | 0.003893 | Atrial | remav_mean_amp_before_qrsBlank | amplitude of atrial signal after removal of averaged beats
30 | 0.003893 | Beat | P_corr_std | standard deviation of the correlation coefficients of all P waves with the averaged P wave
194 | 0.003893 | Rhythm | rhythm_mean_mov_diff_c1 | mean difference between 5 beat moving range of hr and mean hr - considering most frequent beat class only
104 | 0.003893 | Rhythm | rhythm_stds | std(hrs)
353 | 0.003893 | Signal | ws_ecgAmpRange | range of signal amplitudes
308 | 0.003801 | Average | av_T_off_1 | sample number of T offset as compared to fiducial point in averaged beat of class 1
12 | 0.003801 | Beat | commonPattern_width_iqr | IQR of QRS widths
8 | 0.003801 | Beat | commonPattern_width_max | max of QRS widths
36 | 0.003801 | Beat | P_corr_iqr | inter quartile range of the correlation coefficients of all P waves with the averaged P wave
187 | 0.003801 | Rhythm | rhythm_ratioRegular10_PartDiff_c1 | diff between best and worst part
379 | 0.003708 | Meta | combined_is_noise | combined parameter Noise
19 | 0.003708 | Rhythm | commonPattern_BCI_iqr | inter quartile range of beat coupling intervals
290 | 0.003615 | Average | av_QRS_amp_1 | QRS amplitude of averaged beat class 1
2 | 0.003615 | Beat | commonPattern_amp_mean | mean of all beat amplitudes
103 | 0.003615 | Rhythm | rhythm_hr_diff | difference between hr calculated from histogram and median hr
167 | 0.003615 | Rhythm | rhythm_ratioNormal45_100_smooth_c1 | ratio of beats with 45 < hr < 100 bpm with smooth thresholds (45-50 and 100-110 are counted with linear gradient) - dominant beat class only
300 | 0.003522 | Average | av_PoffQRSon_int_1 | Poff QRS on interval of averaged beat class 1
25 | 0.00343 | Beat | P_rmsav_max | max of root mean square of the distance between averaged P wave and each single P wave
373 | 0.00343 | Meta | combined_afOrNormal | combined parameter AF or Normal
119 | 0.003337 | Rhythm | rhythm_range5_95 | hr range between the 5 th and the 95 th percentile
163 | 0.003244 | Rhythm | rhythm_hr_diff_c1 | difference between hr calculated from histogram and median hr
193 | 0.003244 | Rhythm | rhythm_mean_mov_av_diff_c1 | mean difference between 5 beat moving average of hr and mean hr - considering most frequent beat class only
178 | 0.003244 | Rhythm | rhythm_range10_90_c1 | hr range between the 10 th and the 90 th percentile of the dominant beat class only
248 | 0.003152 | Atrial | af_p_af_freq_1 | power of atrial signal after removal of averaged beats within the frequency band 0.001-0.5 Hz
26 | 0.003152 | Beat | P_rmszero_max | max of root mean square of the distance between zero line and each single P wave
244 | 0.003152 | Rhythm | af_rr_irregularity | ratio of iqr(rr)/median (rr)
91 | 0.003152 | Rhythm | rhythm_longestNormalSeq | max. number of subsequent beats of morph class 1 with normal beat coupling interval
34 | 0.003059 | Beat | P_rmsav_median | median of root mean square of the area between averaged P wave and each single P wave
242 | 0.003059 | Rhythm | rhythm_nAnyPattern | number of other rhythm patterns
80 | 0.003059 | Rhythm | rhythm_nsamp | signal length in samples
276 | 0.002966 | Atrial | af_mean_atrialHR_ratio_HR | ratio of atrial hr caluclated from atrial peak to peak distances to ventricular hr, minPeakDistance between atrial peaks = 200 ms
32 | 0.002966 | Beat | P_rmszero_std | standard deviation of root mean square of the area between zero line and each single P wave
56 | 0.002966 | QRS | qrs_n_not_sel | number of peaks with amplitude higher than minimum th but not selected during QRS det (after most distinct change)
231 | 0.002966 | Rhythm | rhythm_N_bci_decreases_1_times | number of sequences with 1 subsequent decreasing beat coupling interval
144 | 0.002966 | Rhythm | rhythm_ratio_RPPR | ratio of patterns Regular Premature Premature Regular
281 | 0.002874 | Rhythm | af_OriginCount | OriginCount from sample entry
99 | 0.002874 | Rhythm | rhythm_mean_mov_av_diff | mean difference between 5 beat moving average of hr and mean hr
98 | 0.002874 | Rhythm | rhythm_ratio_mean_mov_diff_10 | ratio of beats where moving range of 5 subsequent beats is > 10 bpm
271 | 0.002781 | Atrial | af_iqrPamp | Interquartile range of P amplitudes, minPeakDistance between atrial peaks = 200 ms
28 | 0.002781 | Beat | P_rmsav_mean | mean of root mean square of the area between averaged P wave and each single P wave
52 | 0.002688 | QRS | qrs_I_Gmin | index of min. GINI coeff found during QRS det
96 | 0.002688 | Rhythm | rhythm_ratioInterpolated | ratio of interpolated beats (additional beat between two regular heart beats)
164 | 0.002688 | Rhythm | rhythm_stds_c1 | std(hrs) - dominant beat class only
75 | 0.002595 | Rhythm | cc_n_different_in_a_row_95_MAX_rel | maximum number of beats with each a different morphology (morphology correlation < 0.95) relative to signal length
105 | 0.002595 | Rhythm | rhythm_iqrs | inter quartile range of beat coupling intervals
97 | 0.002595 | Rhythm | rhythm_mean_mov_diff | mean difference between 5 beat moving range of hr and mean hr
120 | 0.002595 | Rhythm | rhythm_ratioRegular1 | ratio of beats with hr = median hr +- 1 bpm
181 | 0.002595 | Rhythm | rhythm_ratioRegular3_c1 | ratio of beats with hr = median hr +- 3 bpm - dominant beat class only
254 | 0.002503 | Atrial | af_p_af_freq_4 | power of atrial signal after removal of averaged beats within the frequency band 2-5 Hz
245 | 0.002503 | Rhythm | af_rr_irregularity2 | ratio of rrs within median rr +- 10 bpm
159 | 0.002503 | Rhythm | rhythm_hist_ratio_diag | Ratio of beats within the diagonale of the hist3 of all RR ints
224 | 0.002503 | Rhythm | rhythm_imbalance1 | difference in between all increases and decreases of subsequent beat coupling intervals
237 | 0.002503 | Rhythm | rhythm_n_prepostmajure | number of premature or delayed beats
179 | 0.002503 | Rhythm | rhythm_range5_95_c1 | hr range between the 5 th and the 95 th percentile of the dominant beat class only
4 | 0.00241 | Beat | commonPattern_amp_median | median beat amplitude
31 | 0.00241 | Beat | P_rmsav_std | standard deviation of root mean square of the area between averaged P wave and each single P wave
29 | 0.00241 | Beat | P_rmszero_mean | mean of root mean square of the area between zero line and each single P wave
50 | 0.00241 | QRS | qrs_I_Gmax | index of max. GINI coeff found during QRS det
20 | 0.00241 | Rhythm | commonPattern_BCI_gini | GINI coefficient of beat coupling intervals
17 | 0.00241 | Rhythm | commonPattern_BCI_std | standard deviation of beat coupling intervals
226 | 0.00241 | Rhythm | rhythm_N_bci_increases_1_times | number of sequences with 1 subsequent increasing beat coupling interval
63 | 0.002317 | QRS | qrs_nIrregularities | number of peaks with very irregular morphology | wird falsch berechnet - es fehlt ein find() - so ist's die Anzahl an gefundenen QRS
232 | 0.002317 | Rhythm | rhythm_N_bci_decreases_2_times | number of sequences with 2 subsequent decreasing beat coupling interval
195 | 0.002317 | Rhythm | rhythm_ratio_mean_mov_diff_10_c1 | ratio of beats where moving range of 5 subsequent beats is > 10 bpm - dominant beat class only
359 | 0.002317 | Rhythm | ws_N_homo_max_beats_in_a_row | max. number of equal beats in a row
284 | 0.002225 | Average | av_QRS_on_1 | distance from fiducial point to QRS onset in samples for averaged beat class 1
76 | 0.002225 | Rhythm | cc_perc_sc1 | percentage of beats of major morphology class (class 1)
16 | 0.002225 | Rhythm | commonPattern_BCI_mean | mean of beat coupling intervals
82 | 0.002225 | Rhythm | rhythm_n_widths | number of bars in hist (widths) with height > 0.2 * max
118 | 0.002225 | Rhythm | rhythm_range10_90 | hr range between the 10 th and the 90 th percentile
90 | 0.002225 | Rhythm | rhythm_sc_gini | gini coefficient of the number of beats per morphology class
190 | 0.002132 | Rhythm | rhythm_n_hist_all_c1 | number of histogram bars with n > 0 in a histogram with mean hr *(0.5:0.1:1.5)- most frequent beat class only
180 | 0.002132 | Rhythm | rhythm_ratioRegular1_c1 | ratio of beats with hr = median hr +- 1 bpm - dominant beat class only
184 | 0.002132 | Rhythm | rhythm_ratioRegular20_c1 | ratio of beats with hr = median hr +- 20 bpm - dominant beat class only
121 | 0.002132 | Rhythm | rhythm_ratioRegular3 | ratio of beats with hr = median hr +- 3 bpm
122 | 0.002132 | Rhythm | rhythm_ratioRegular5 | ratio of beats with hr = median hr +- 5 bpm
305 | 0.002039 | Average | av_Q_FP_time_1 | time from QRS onset to fiducial point of averaged beat class 1
53 | 0.002039 | QRS | qrs_I_delta_G_D | diff between selected index and index of min GINI coeff during QRS det
107 | 0.002039 | Rhythm | rhythm_ratioNormal45_100_smooth | ratio of beats with 45 < hr < 100 bpm with smooth thresholds (45-50 and 100-110 are counted with linear gradient)
156 | 0.001947 | Rhythm | rhythm_n_hist_20 | number of histogram bars with height > 20 % of max in a histogram with mean hr *(0.5:0.1:1.5)
183 | 0.001947 | Rhythm | rhythm_ratioRegular10_c1 | ratio of beats with hr = median hr +- 10 bpm - dominant beat class only
182 | 0.001947 | Rhythm | rhythm_ratioRegular5_c1 | ratio of beats with hr = median hr +- 5 bpm - dominant beat class only
165 | 0.001854 | Rhythm | rhythm_iqrs_c1 | inter quartile range of beat coupling intervals - considering only beats of most frequent beat class
189 | 0.001854 | Rhythm | rhythm_n_hist_20_c1 | number of histogram bars with height > 20 % of max in a histogram with mean hr *(0.5:0.1:1.5)- most frequent beat class only
93 | 0.001854 | Rhythm | rhythm_NPa | number of atrial premature beats
125 | 0.001854 | Rhythm | rhythm_ratioRegular10_bestPart | maximum of values calculated within 1st, 2nd and 3rd 1/3 of the ecg of ratio of beats with hr = median hr +- 10 bpm
124 | 0.001854 | Rhythm | rhythm_ratioRegular20 | ratio of beats with hr = median hr +- 20 bpm
18 | 0.001761 | Rhythm | commonPattern_BCI_median | median of beat coupling intervals
228 | 0.001761 | Rhythm | rhythm_N_bci_increases_3_times | number of sequences with 3 subsequent increasing beat coupling interval
161 | 0.001761 | Rhythm | rhythm_nBeats_c1 | number of beats with most frequent morphology
143 | 0.001761 | Rhythm | rhythm_ratio_RPDR | ratio of patterns Regular, Premature, Delayed, Regular
112 | 0.001761 | Rhythm | rhythm_ratioFast95 | ratio of beats with hr > 95 bpm
166 | 0.001669 | Rhythm | rhythm_ratioNormal45_100_c1 | ratio of beats with 45 < hr < 100 bpm - dominant beat class only
272 | 0.001576 | Atrial | af_median_atrialHR | median atrial heart rate calculated from atrial peak distances, minPeakDistance between atrial peaks = 200 ms
283 | 0.001576 | Rhythm | af_PACEv | PACEv from sample entry
191 | 0.001576 | Rhythm | rhythm_hist_n_diag_c1 | Number of beats within the diagonale of the hist3 of all RR ints - considering only beats of most frequent morphology class
192 | 0.001576 | Rhythm | rhythm_hist_ratio_diag_c1 | Ratio of beats within the diagonale of the hist3 of all RR ints - considering only beats of most frequent morphology class
100 | 0.001576 | Rhythm | rhythm_hr1 | hr calculated from histogram as the median of all hrs within the major bar of the histogram
83 | 0.001576 | Rhythm | rhythm_n_amps | number of bars in hist(amps) with height > 0.2 * max
369 | 0.001576 | Rhythm | ws_N_tachy_rel | number of tachy beats / number of beats
39 | 0.001483 | Beat | P_corr_gini | GINI coefficient of the correlation coefficients of all P waves with the averaged P wave
243 | 0.001483 | Meta | rhythm_isOtherRhythm | combined parameter - Other rhythm
236 | 0.001483 | Rhythm | rhythm_n_postmajure | number of delayed beats
113 | 0.001483 | Rhythm | rhythm_ratioFast90 | ratio of beats with hr > 90 bpm
126 | 0.001483 | Rhythm | rhythm_ratioRegular10_worstPart | minimum of values calculated within 1st, 2nd and 3rd 1/3 of the ecg of ratio of beats with hr = median hr +- 10 bpm
197 | 0.00139 | Rhythm | rhythm_hist_gap | is there a gap within the histogram of all RR intervals?
81 | 0.00139 | Rhythm | rhythm_hrtrt | mean of all hrs
86 | 0.00139 | Rhythm | rhythm_majorel | number of beats with most frequent morphology
196 | 0.00139 | Rhythm | rhythm_n_hist | number of histogram bars in a histogram with mean hr *(0.5:0.1:1.5)
145 | 0.00139 | Rhythm | rhythm_ratio_DDPP | ratio of patterns Delayed Delayed Premature Premature
152 | 0.00139 | Rhythm | rhythm_ratioPatternSum | ratio sum of all patterns / number of beats
315 | 0.001298 | Average | av_nbeats_2 | number of beats used for averaged beat of class 2
66 | 0.001298 | Beat | beat_amp_gini | GINI coefficient of beat amplitudes
160 | 0.001298 | Rhythm | rhythm_hr1_c1 | hr calculated from histogram as the median of all hrs within the major bar of the histogram - considering only beats of most frequent morphology class
101 | 0.001298 | Rhythm | rhythm_nBeats | number of beats
106 | 0.001298 | Rhythm | rhythm_ratioNormal45_100 | ratio of beats with 45 < hr < 100 bpm
151 | 0.001298 | Rhythm | rhythm_ratioPatternMax | maximum of ratio of patterns of any singel one of all patterns
360 | 0.001298 | Rhythm | ws_N_homo_rel | ratio of sequences with at least 5 equal beats in a row / n beats
158 | 0.001205 | Rhythm | rhythm_hist_n_diag | Number of beats within the diagonale of the hist3 of all RR ints
162 | 0.001205 | Rhythm | rhythm_hr2_c1 | median of all hrs - considering only beats of most frequent morphology class
235 | 0.001205 | Rhythm | rhythm_N_bci_decrease_max | maximum number of subsequent beats with decreasing beat coupling interval
233 | 0.001205 | Rhythm | rhythm_N_bci_decreases_3_times | number of sequences with 3 subsequent decreasing beat coupling interval
230 | 0.001205 | Rhythm | rhythm_N_bci_increase_max | maximum number of subsequent beats with increasing beat coupling interval
227 | 0.001205 | Rhythm | rhythm_N_bci_increases_2_times | number of sequences with 2 subsequent increasing beat coupling interval
173 | 0.001205 | Rhythm | rhythm_ratioFast90_c1 | ratio of beats with hr > 90 bpm - dominant beat class only
88 | 0.001205 | Rhythm | rhythm_sc_2 | ratio of beats of second most frequent class
377 | 0.001112 | Meta | combined_is_normal | combined parameter Normal
102 | 0.001112 | Rhythm | rhythm_hr2 | median of all hrs
85 | 0.001112 | Rhythm | rhythm_Nscs | number of different morphology classes
222 | 0.00102 | Rhythm | rhythm_imbalance | difference in between increases > 0.1 and decreases >0.1 of subsequent beat coupling intervals
153 | 0.00102 | Rhythm | rhythm_nPattern_AD_in_Ns | number of patterns with atrial beat + delayed beat, surrounded by normal beats
87 | 0.00102 | Rhythm | rhythm_otherel | ratio of beats which are not in the most frequent class / number of beats
109 | 0.00102 | Rhythm | rhythm_ratioFast110 | ratio of beats with hr > 110 bpm
172 | 0.00102 | Rhythm | rhythm_ratioFast95_c1 | ratio of beats with hr > 95 bpm - dominant beat class only
186 | 0.00102 | Rhythm | rhythm_ratioRegular10_worstPart_c1 | minimum of values calculated within 1st, 2nd and 3rd 1/3 of the ecg of ratio of beats with hr = median hr +- 10 bpm - dominant beat class only
292 | 0.000927 | Average | av_isWPW_1 | is a WPW syndrom detected in the averaged beat of class 1
312 | 0.000927 | Average | av_QRS_a_on2off_1 | negative value of av_QRS_A_onoff_1 | wieso wir das machen, versteh ich nicht...
378 | 0.000927 | Meta | combined_is_normal_old | combined parameter Normal - old version
199 | 0.000927 | Rhythm | rhythm_n_delayed | number of delayed beats
188 | 0.000927 | Rhythm | rhythm_n_hist_50_c1 | number of histogram bars with height > 50 % of max in a histogram with mean hr *(0.5:0.1:1.5)- most frequent beat class only
157 | 0.000927 | Rhythm | rhythm_n_hist_all | number of histogram bars with n > 0 in a histogram with mean hr *(0.5:0.1:1.5)
110 | 0.000927 | Rhythm | rhythm_ratioFast105 | ratio of beats with hr > 105 bpm
123 | 0.000927 | Rhythm | rhythm_ratioRegular10 | ratio of beats with hr = median hr +- 10 bpm
366 | 0.000927 | Rhythm | ws_N_seq_of_2_non1inArow | number of sequences with 2 beats other than dominant class in a row
234 | 0.000834 | Rhythm | rhythm_N_bci_decreases_4_times | number of sequences with 4 subsequent decreasing beat coupling interval
84 | 0.000834 | Rhythm | rhythm_Nscs_1per10s | number of beat classes with a number of beats >= 1 per 10s signal length
171 | 0.000834 | Rhythm | rhythm_ratioFast100_c1 | ratio of beats with hr > 100 - dominant beat class only
175 | 0.000834 | Rhythm | rhythm_ratioSlow55_c1 | ratio of beats with hr < 55 bpm - dominant beat class only
114 | 0.000834 | Rhythm | rhythm_ratioSlow60 | ratio of beats with hr < 60 bpm
92 | 0.000742 | Rhythm | rhythm_n_premajure | number of premature beats
116 | 0.000742 | Rhythm | rhythm_ratioSlow50 | ratio of beats with hr < 50 bpm
174 | 0.000742 | Rhythm | rhythm_ratioSlow60_c1 | ratio of beats with hr < 60 bpm - dominant beat class only
332 | 0.000649 | Average | av_R_up_gradient_2 | maximum gradient of rising R peak of averaged beat class 2
70 | 0.000649 | Beat | beat_width_gini | GINI coefficient of QRS durations
205 | 0.000649 | Rhythm | rhythm_nPattern_DNE | number of patterns delayed, normal, ectopic
170 | 0.000649 | Rhythm | rhythm_ratioFast105_c1 | ratio of beats with hr > 105 bpm - dominant beat class only
117 | 0.000649 | Rhythm | rhythm_ratioSlow45 | ratio of beats with hr < 45 bpm
285 | 0.000556 | Average | av_nbeats_1 | number of beats used for averaged beat of class 1
343 | 0.000556 | Average | av_QRS_A_on2off_2 | Difference of amplitude of averaged heart beat of class 2 right before and right after QRS complex
64 | 0.000556 | QRS | qrs_nProblems | number of peaks with very irregular morphology | wird falsch berechnet - es fehlt ein find() - so ist's die Anzahl an gefundenen QRS
68 | 0.000556 | Rhythm | beat_bci_gini | GINI coefficient of beat coupling intervals
135 | 0.000556 | Rhythm | rhythm_nPattern_N1N1 | number of patterns normal, 1 other beat, normal, 1 other beat
148 | 0.000556 | Rhythm | rhythm_ratio_RPRP | ratio of patterns Regular Premature Regular Premature
108 | 0.000556 | Rhythm | rhythm_ratioFast120 | ratio of beats with hr > 120 bpm
176 | 0.000556 | Rhythm | rhythm_ratioSlow50_c1 | ratio of beats with hr < 50 bpm - dominant beat class only
324 | 0.000463 | Average | av_P_amplitude2_2 | P amplitude calculated as distance from a reference zero line of average beat class 2
229 | 0.000463 | Rhythm | rhythm_N_bci_increases_4_times | number of sequences with 4 subsequent increasing beat coupling interval
155 | 0.000463 | Rhythm | rhythm_n_hist_50 | number of histogram bars with height > 50 % of max in a histogram with mean hr *(0.5:0.1:1.5)
136 | 0.000463 | Rhythm | rhythm_nPattern_N1N1N1 | number of patterns normal, 1 other beat, normal, 1 other beat, normal, 1 other beat
138 | 0.000463 | Rhythm | rhythm_nRPPR | number of patterns Regular Premature Premature Regular
111 | 0.000463 | Rhythm | rhythm_ratioFast100 | ratio of beats with hr > 100
115 | 0.000463 | Rhythm | rhythm_ratioSlow55 | ratio of beats with hr < 55 bpm
372 | 0.000463 | Rhythm | ws_N_brady_rel | number of brady beats / total number of beats
368 | 0.000463 | Rhythm | ws_N_tachy_max_beats_in_a_row | max. number of tachy beats in a row
350 | 0.000463 | Signal | ws_ecgLength | length of signal
339 | 0.000371 | Average | av_P_angle_2 | angle between the lines P onset - P peak and P peak - P offset for averaged beat class 2
319 | 0.000371 | Average | av_QRS_width_2 | QRS width of average beat class 2
336 | 0.000371 | Average | av_QT_duration_2 | QT duration of averaged beat class 2
321 | 0.000371 | Average | av_ST_elevation_2 | ST elevation of average beat class 2
337 | 0.000371 | Average | av_T_amp_2 | T amplitude of average beat class 2
198 | 0.000371 | Rhythm | rhythm_n_hist2 | number of histogram bars with n>0 in a histogram with mean hr *(0.5:0.05:1.5)
169 | 0.000371 | Rhythm | rhythm_ratioFast110_c1 | ratio of beats with hr > 110 bpm - dominant beat class only
168 | 0.000371 | Rhythm | rhythm_ratioFast120_c1 | ratio of beats with hr > 120 bpm - dominant beat class only
177 | 0.000371 | Rhythm | rhythm_ratioSlow45_c1 | ratio of beats with hr < 45 bpm - dominant beat class only
354 | 0.000371 | Signal | ws_numberOfBeatsWithProblems | number of beats with problems
328 | 0.000278 | Average | av_P_duration_2 | P duration for averaged beat class 2
334 | 0.000278 | Average | av_R_down_gradient_2 | minimum gradient of falling R peak of averaged beat class 2
380 | 0.000278 | Meta | combined_n_over_noise_th | comgined parameter Noise, other version
74 | 0.000278 | Rhythm | cc_n_different_in_a_row_95_MAX | maximum number of beats with each a different morphology (morphology correlation < 0.95)
73 | 0.000278 | Rhythm | cc_n_NaN_seq | number of sequences with very heterogeneous morphology classes (i.e. noise sequences)
95 | 0.000278 | Rhythm | rhythm_Nectopic | number of ectopic beats (based on morphology)
216 | 0.000278 | Rhythm | rhythm_nPattern_NEDN | number of patterns normal, ectopic, delayed, normal
150 | 0.000278 | Rhythm | rhythm_nPatternSum | sum of all patterns
94 | 0.000278 | Rhythm | rhythm_NPv | number of ventricular premature beats
89 | 0.000278 | Rhythm | rhythm_sc_3 | ratio of beats of third most frequent class
364 | 0.000278 | Rhythm | ws_N_hetero_rel | ratio of sequences with at least 5 different beat classes in a row / n beats
246 | 0.000185 | Atrial | af_nice_found | Has any signal portion been found, where removal of QRS complexes worked well?
326 | 0.000185 | Average | av_P_amplitude4_2 | P amplitude calculated as distance from a more complex reference zero line of average beat class 2
335 | 0.000185 | Average | av_Q_FP_time_2 | time from QRS onset to fiducial point of averaged beat class 2
341 | 0.000185 | Average | av_QRS_t_on2off_2 | sqared value of av_QRS_A_on2off_2
78 | 0.000185 | Rhythm | cc_n_NaN_rank | number of classes which have more beats than the number of beats removed due to sequences of all different beat classes
72 | 0.000185 | Rhythm | cc_n_NaN_rel | number of beats removed due to sequences of all different beat classes / number of beats
139 | 0.000185 | Rhythm | rhythm_nDDPP | number of patterns Delayed Delayed Premature Premature
241 | 0.000185 | Rhythm | rhythm_NDelayed | number of delayed beats
128 | 0.000185 | Rhythm | rhythm_nPattern_1111 | number of patterns with 4 times 1 different beat class
130 | 0.000185 | Rhythm | rhythm_nPattern_1313 | number of patterns with 1 beat of a class, 3 beats of a class, 1 beat of a class, 3 beats of a class
149 | 0.000185 | Rhythm | rhythm_nPatternMax | maximum of number of patterns of any singel one of all patterns
362 | 0.000185 | Rhythm | ws_N_hetero_classes_with_seq_of_more_than_min_max | maximum number of different classes within a sequence of at least 5 different beat classes (eg. 23232 = 2; 23456=5)
363 | 0.000185 | Rhythm | ws_N_hetero_max_beats_in_a_row | max number of beats of the same class in a row
325 | 9.3e-05 | Average | av_P_amplitude2rel_2 | ratio of P amplitude calculated as distance from a reference zero line to QRS amplitude of average beat class 2
330 | 9.3e-05 | Average | av_PoffQRSon_int_2 | Poff QRS on interval of averaged beat class 2
342 | 9.3e-05 | Average | av_QRS_a_on2off_2 | negative value of av_QRS_A_onoff_2 | wieso wir das machen, versteh ich nicht...
331 | 9.3e-05 | Average | av_ST_gradient_2 | ST gradient of average beat class 2
54 | 9.3e-05 | QRS | qrs_secondRun | was a second run with new parameters performed in order to improve QRS det quality?
344 | 9.3e-05 | Rhythm | av_nOtherRhythmBeats | number of beats with any other morphology class but the two most frequent ones | könnte falsch / nicht berechnet werden - müsste ich aber noch checken
134 | 9.3e-05 | Rhythm | rhythm_nPattern_141414 | number of patterns with 1 beat of a class, 4 beats of a class, 1 beat of a class, 4 beats of a class, 1 beat of a class, 4 beats of a class
142 | 9.3e-05 | Rhythm | rhythm_nRPRP | number of patterns Regular Premature Regular Premature
147 | 9.3e-05 | Rhythm | rhythm_ratio_RPPDR | ratio of patterns Regular Premature Premature Delayed Regular
371 | 9.3e-05 | Rhythm | ws_N_brady_max_beats_in_a_row | max. number of brady beats in a row
357 | 9.3e-05 | Rhythm | ws_N_homo_seq_of_more_than_min | number of sequences with at least 5 equal beat classes in a row
249 | 0 | Atrial | af_p_af_freq_rel_1 | ratio of the power of atrial signal after removal of averaged beats within the frequency band 0.001-0.5 Hz as compared to 0.001-0.5 Hz (always 1)
322 | 0 | Average | av_isWPW_2 | is a WPW syndrom detected in the averaged beat of class 2
293 | 0 | Average | av_isWPW_rising_1 | is a WPW syndrom detected in the rising part of averaged beat of class 1
323 | 0 | Average | av_isWPW_rising_2 | is a WPW syndrom detected in the rising part of averaged beat of class 2
327 | 0 | Average | av_P_area_2 | area under P wave for averaged beat class 2
318 | 0 | Average | av_P_off_2 | distance from fiducial point to P wave offset in samples for averaged beat class 2
317 | 0 | Average | av_P_on_2 | distance from fiducial point to P wave onset in samples for averaged beat class 2
340 | 0 | Average | av_P_skewness_2 | Skewness of P wave of average beat class 2
329 | 0 | Average | av_PQ_int_2 | PQ interval of averaged beat class 2
320 | 0 | Average | av_QRS_amp_2 | QRS amplitude of averaged beat class 2
316 | 0 | Average | av_QRS_off_2 | distance from fiducial point to QRS offset in samples for averaged beat class 2
314 | 0 | Average | av_QRS_on_2 | distance from fiducial point to QRS onset in samples for averaged beat class 2
333 | 0 | Average | av_R_up_gradient_change_2 | Gradient change in the rising R peak of average beat class 2
338 | 0 | Average | av_T_off_2 | sample number of T offset as compared to fiducial point in averaged beat of class 2
79 | 0 | Rhythm | cc_n_NaN_rel_2_mc | number of beats removed due to sequences of all different beat classes / number of beat classes
77 | 0 | Rhythm | cc_perc_sc1_notNaN | percentage of beats of major morphology class (class 1) - excluding beats that have been identified as noise
217 | 0 | Rhythm | rhythm_nOPatterns_2letters | number of any other rhythm patterns, based on 2 subsequent beats
218 | 0 | Rhythm | rhythm_nOPatterns_3letters | number of any other rhythm patterns, based on 3 subsequent beats
219 | 0 | Rhythm | rhythm_nOPatterns_4letters | number of any other rhythm patterns, based on 4 subsequent beats
129 | 0 | Rhythm | rhythm_nPattern_1212 | number of patterns with 1 beat of a class, 2 beats of a class, 1 beat of a class, 2 beats of a class
132 | 0 | Rhythm | rhythm_nPattern_121212 | number of patterns with 1 beat of a class, 2 beats of a class, 1 beat of a class, 2 beats of a class, 1 beat of a class, 2 beats of a class
133 | 0 | Rhythm | rhythm_nPattern_131313 | number of patterns with 1 beat of a class, 3 beats of a class, 1 beat of a class, 3 beats of a class, 1 beat of a class, 3 beats of a class
220 | 0 | Rhythm | rhythm_nPattern_134134 | number of patterns with 1 beat of a class, 3 or 4 beats of a class, 1 beat of a class, 3 or 4 beats of a class
221 | 0 | Rhythm | rhythm_nPattern_134134134 | number of patterns with 1 beat of a class, 3 or 4 beats of a class, 1 beat of a class, 3 or 4 beats of a class, 1 beat of a class, 3 or 4 beats of a class
131 | 0 | Rhythm | rhythm_nPattern_1414 | number of patterns with 1 beat of a class, 4 beats of a class, 1 beat of a class, 4 beats of a class
201 | 0 | Rhythm | rhythm_nPattern_DE | number of delayed beats, followed by ectopic beats
207 | 0 | Rhythm | rhythm_nPattern_DED | number patterns delayed, ectopic, delayed
213 | 0 | Rhythm | rhythm_nPattern_DEDE | number of patterns delayed, ectopic, delayed, ectopic
212 | 0 | Rhythm | rhythm_nPattern_DNED | number of patterns delayed, normal, ectopic, delayed
202 | 0 | Rhythm | rhythm_nPattern_ED | number of patterns ectopic, delayed
206 | 0 | Rhythm | rhythm_nPattern_EDE | number of patterns ectopic, delayed, ectopic
214 | 0 | Rhythm | rhythm_nPattern_EDED | number of patterns ectopic, delayed, ectopic, delayed
209 | 0 | Rhythm | rhythm_nPattern_EDN | number of patterns ectopic, delayed, normal
211 | 0 | Rhythm | rhythm_nPattern_EDNE | number of patterns ectopic, delayed, normal, ectopic
200 | 0 | Rhythm | rhythm_nPattern_EV | number of patterns ectopic, ventricular premature
203 | 0 | Rhythm | rhythm_nPattern_EVN | number of patterns ectopic, ventricular premature, normal
208 | 0 | Rhythm | rhythm_nPattern_NED | number of patterns normal, ectopic, delayed
210 | 0 | Rhythm | rhythm_nPattern_NEDE | number of patterns normal, ectopic, delayed, ectopic
204 | 0 | Rhythm | rhythm_nPattern_NEV | number of patterns normal, ectopic, ventricular premature
215 | 0 | Rhythm | rhythm_nPattern_NNED | number of patterns normal, normal, ectopic, delayed
137 | 0 | Rhythm | rhythm_nRPDR | number of patterns Regular, Premature, Delayed, Regular
140 | 0 | Rhythm | rhythm_nRPPDDR | number of patterns Regular Premature Premature Delayed Delayd Regular
141 | 0 | Rhythm | rhythm_nRPPDR | number of patterns Regular Premature Premature Delayed Regular
146 | 0 | Rhythm | rhythm_ratio_RPPDDR | ratio of patterns Regular Premature Premature Delayed Delayd Regular
370 | 0 | Rhythm | ws_N_brady | number of brady beats
361 | 0 | Rhythm | ws_N_hetero_seq_of_more_than_min | number of sequences with at least 5 different beat classes in a row
358 | 0 | Rhythm | ws_N_homo_classes_with_seq_of_more_than_min | number of beat classes where there are at least 5 subsequent beats
356 | 0 | Rhythm | ws_n_isMemberOfLesserClass | not used since threshold for lessThan = 0
355 | 0 | Rhythm | ws_N_lesserClass | not used since threshold for lessThan = 0
367 | 0 | Rhythm | ws_N_tachy | number of tachy beats
365 | 0 | Signal | ws_n_spikes | number of spikes detected